Ch-3

Strength Analysis of Beams According to ACI Code

3.1 DESIGN METHODS

From the early 1900s until the early 1960s, nearly all reinforced concrete design in the United States was performed by the working-stress design method (also called allowable-stress design or straight-line design). In this method, frequently referred to as WSD, the dead and live loads to be supported, called working loads or service loads, were first estimated. Then the members of the structure were proportioned so that stresses calculated by a transformed area did not exceed certain permissible or allowable values.

After 1963 the ultimate-strength design method rapidly gained popularity because (1) it makes use of a more rational approach than does WSD; (2) a more realistic consideration of safety is used; and (3) it provides more economical designs. With this method (now called strength design) the working dead and live loads are multiplied by certain load factors (equivalent to safety factors) and the resulting values are called factored loads. The members are then selected so they will theoretically just fail under the factored loads.

3.2 ADVANTAGES OF STRENGTH DESIGN

Among the several advantages of the strength design method as compared to the no longer permitted working-stress design method are the following:

- The derivation of the strength design expressions takes into account the non- linear shape of the stress-strain diagram. When the resulting equations are applied, decidedly better estimates of load-carrying ability are obtained.

- With strength design, a more consistent theory is used throughout the designs of reinforced concrete structures. For instance, with working-stress design the transformed-area or straight-line method was used for beam design, and a strength design procedure was used for columns.

- A more realistic factor of safety is used in strength design. The designer can certainly estimate the magnitudes of the dead loads that a structure will have to support more accurately than estimating the live and environmental loads. With working-stress design the same safety factor was used for dead, live, and environmental loads.  For this reason, use of different load or safety factors in strength design for the different types of loads is a definite improvement.

- A structure designed by the strength method will have a more uniform safety factor against collapse throughout. The strength method takes considerable advantage of higher-strength steels, whereas working-stress design did only partly so. The result is better economy for strength design.

- The strength method permits more flexible designs than did the WSM. For instance, the percentage of steel may be varied quite a bit. As a result, large sections may be used with small percentages of steel or small sections maybe used with large percentages of steel. Such variations were not the case in the relatively fixed working-stress method. If the same amount of steel is used in strength design for a particular beam as would have been used with WSD, a smaller section will result. If the same size section is used as required by WSD, a smaller amount of steel will be required.

3.3 STRUCTURAL SAFETY

The structural safety of a reinforced concrete structure can be calculated with two methods. The first method involves calculations of the stresses caused by the working or service loads and their comparison with certain allowable stresses. Usually the safety factor against collapse when the working-stress method was used was said to equal the smaller of  or ·

The second approach to structural safety is the one used in strength design in which uncertainty is considered. The working loads are multiplied by certain load factors that are larger than one. The resulting larger or factored loads are used for designing the structure. The values of the load factors vary depending on the type and combination of the loads. To accurately estimate the ultimate strength of a structure, it is necessary to take into account the uncertainties in material strengths, dimensions, and workmanship. This is done by multiplying the theoretical ultimate strength (called the nominal strength herein) of each member by the strength reduction factor which is less than one. These values generally vary from 0.90 for bending down to 0.65 for some columns.

In summary, the strength design approach to safety is to select a member who's computed ultimate load capacity multiplied by its strength reduction factor will at least equal the sum of the service loads multiplied by their respective load factors. Member capacities obtained with the strength method are appreciably more accurate than member capacities predicted with the working-stress method.

3.4 DERIVATION OF BEAM EXPRESSIONS

Tests of reinforced concrete beams confirm that strains vary in proportion to distances from the neutral axis even on the tension sides and even near ultimate loads. Compression stresses vary approximately in a straight line until the maximum stress equals about. This is not the case, however, after stresses go higher. When the ultimate load is reached, the strain and stress variations are approximately as shown in Figure 3.1.

The compressive stresses vary from zero at the neutral axis to a maximum value at or near the extreme fiber. The actual stress variation and the actual location of the neutral axis vary somewhat from beam to beam depending on such variables as the magnitude and history of past loadings, shrinkage and creep of the concrete, size and spacing of tension cracks, speed of loading, and so on.

If the shape of the stress diagram were the same for every beam, it would easily be possible to derive a single rational set of expressions for flexural behavior. Because of these stress variations, however, it is necessary to base the strength design on a combination of theory and test results.

Although the actual stress distribution given in Figure 3.2(b) may seem to be important, any assumed shape (rectangular, parabolic, trapezoidal, etc.) can be used practically if the resulting equations compare favorably with test results. The most common shapes proposed are the rectangle, parabola, and trapezoid, with the rectangular shape used in this text as shown in Figure 3.2(c) being the most common one.

If the concrete is assumed to crush at a strain of about 0.003 (which is a little conservative for most concretes) and the steel to yield at fy, it is possible to make a reasonable derivation of beam formulas without knowing the exact stress distribution. However, it is necessary to know the value of the total compression force and its centroid.

Whitney replaced the curved stress block with an equivalent rectangular block of intensity  and depth, as shown in Figure 3.2(c). The area of this rectangular block should equal that of the curved stress block and the centroid of the two blocks should coincide. Sufficient test results are available for concrete beams to provide the depths of the equivalent rectangular stress blocks. The values of  given by the Code (10.2.7.3) are intended to give this result. For  between 17 and 28 MPa,  shall be taken as 0.85. For   above 28 MPa,  shall be reduced linearly at a rate of 0.05 for each 7 MPa of strength in excess of 28 MPa, but shall not be taken less than 0.65.The values of  are reduced for high-strength concretes primarily because of the shapes of their stress-strain curves.

For concretes with  MPa,

Based on these assumptions regarding the stress block, statics equations can easily be written for the sum of the horizontal forces and for the resisting moment produced by the internal couple. These expressions can then be solved separately for  and for the moment. is defined as the theoretical or nominal resistingmoment of a section. In Section 3.3 it was stated that the usable strength of a member equals its theoretical strength times the strength reduction factor, or, in this case, . The usable flexural strength of a member,must at least be equal to the calculated factored moment,  caused by the factored loads.

For writing the beam expressions, reference is made to Figure 3.3. Equating the horizontal forces C and T and solving for a, we obtain:

Then

Because the reinforcing steel is limited to an amount such that it will yield well before the concrete reaches its ultimate strength, the value of the nominal moment  can bewritten as

And the usable flexural strength is:

Substituting into this expression the value previously obtained for  (it was) and equate  to  we obtain the following expression:

Replacingwith  and letting, we can solve this expression for (the percentage of steel required for a particular beam) with the following results:

3.5 STRAINS IN FLEXURALMEMBERS

As previously mentioned, Section 10.2.2 of the Code states that the strains in concrete members and their reinforcement are to be assumed to vary directly with distances from their neutral axes. Furthermore, in Section 10.2.3 the Code states that the maximum usable strain in the extreme compression fibers of a flexural member is to be 0.003.Section 10.3.3 states that for Grade 420 reinforcement and for all prestressed reinforcement we may set the strain in the steel equal to 0.002 at the balanced condition. (Theoretically, for 420MPa steel it equals). In Section 3.4 a value was derived for, the depth of the equivalent stress block of a beam. It can be related to c with the factor  also given in that section.

Then the distance  from the extreme concrete compression fibers to the neutral axis is:

Ex. 1: Determine the values of for the beam shown in figure below.

3.6 BALANCED SECTIONS, TENSION-CONTROLLED SECTIONS,

AND COMPRESSION-CONTROLLED OR BRITTLE SECTIONS:

A beam that has a balanced steel ratio is one for which the tensile steel will theoretically yield at the time the extreme compression concrete fibers attain a strain equal to0.003. Should a flexural member be so designed that it has a balanced steel ratio or be a member whose compression side controls (that is, if its compression strain reaches 0.003 before the steel yields), the member can suddenly fail without warning. As the load on such a member is increased, its deflections will usually not be particularly noticeable, even though the concrete is highly stressed in compression and failure will probably occur without warning to users of the structure. These members are compression controlled and are referred to as brittle members. Obviously, such members must be avoided.

The Code, in Section 10.3.4, states that members whose computed tensile strains are at the same time the concrete strain is are to be referred to as tension-controlled sections. For such members the steel will yield before the compression side crushes and deflections will be large, giving users warning of impending failure. Furthermore, members with are considered to be fully ductile. The ACl-Code chose the 0.005 value for  to apply to all types of steel permitted by the Code, whether regular or prestressed. The Code further states that members that have net steel strains or values between 0.002 and 0.005 are in a transition range between compression-controlled and tension-controlled sections.

3.7 STRENGTH REDUCTION OR  FACTORS

Strength reduction factors are used to take into account the uncertainties of material strengths, inaccuracies in the design equations, approximations in analysis, possible variations in dimensions of the concrete sections and placement of reinforcement, the importance of members in the structures of which they are part, and so on. The Code (9.3) prescribes values orstrength reduction factors for most situations. Among these values are the following:

- 0.90 for tension-controlled beams and slabs

- 0.75 for shear and torsion in beams

- 0.65 or 0.70 for columns

- 0.65 or 0.70 to 0.9 for columns supporting very small axial loads

- 0.65 for bearing on concrete

The sizes of these factors are rather good indications of our knowledge of the subject in question. For instance, calculated nominal moment capacities in reinforced concrete members seem to be quite accurate, whereas computed bearing capacities are more questionable.

For ductile or tension-controlled beams and slabs where, the value of for bending used is 0.90. Should be less than 0.005 it is still possible to use the sections if is not less than certain values. This situation is shown in Figure R.9.3.2 in the ACI Commentary to the 2011 Code.

Members subject to axial loads equal to or less than  may be used when isas low as 0.004 (ACI Section 10.3.5). Should the members be subject to axial loads they may be used when  is as small as 0.002. When values fall between 0.002and 0.005, they are said to be in the transition range between tension-controlled and compression-controlled sections. In this range  values will fall between 0.65 or 0.70 and 0.90as shown in the figure.

The procedure for determining  values in the transition range is described later in this section. It must be clearly understand that the use of flexural members in this range is usually uneconomical, and it is probably better, if the situation permits, to increase member depths and/or decrease steel percentages until is equal or larger than 0.005. If this is done, not only will  values equal 0.9 but also steel percentages will not be so large as to cause crowding of reinforcing bars. The net result will be slightly larger concrete sections, with consequent smaller deflections.

The bottom half of Figure above gives values for c/dt ratios. If c/dt for a particular flexural member is , the beam will be ductile, and if > 0.600 it will be brittle. In between is the transition range. You may prefer to compute c/dt for a particular beam to check its ductility rather than computing.

Continuing our consideration of Figure, we can see that when  less than 0.005, the values of will vary along a straight line from their 0.90 value for ductile sections to 0.65 at balanced conditions where is 0.002. Later, we will learn that  can equal 0.70 rather than 0.65 at this latter strain situation if spirally reinforced sections are being considered. For this range of varying values, the value of may be determined by proportions or with the following formula, which is also shown in the figure.

Or   for two layer of tension steel area

3.8 MINIMUM PERCENTAGE OF STEEL

A brief discussion of the modes of failure that occur for various reinforced beams was presented in Section 3.6. Sometimes because of architectural or functional requirements, beam dimensions are selected that are much larger than are required for bending alone. Such members theoretically require very small amounts of reinforcing.

Actually, another mode of failure can occur in very lightly reinforced beams. If the ultimate resisting moment of the section is less than its cracking moment, the section will fail immediately when a crack occurs. This type of failure may occur without warning. To prevent such a possibility, the ACI (10.5.1) specifies a certain minimum amount of reinforcing that must be used at every section of flexural members where tensile reinforcing is required by analysis, whether for positive or negative moments. In the following equations, bw represents the web width of beams.

Section 10.5.3 of the Code states that the preceding minimums do not have to be met if the area of the tensile reinforcing furnished at every section is at least one-third greater than the area required by moment.

ACI Section 10.5.4 states that for slabs and footings of uniform thickness, the minimum area of tensile reinforcing in the direction of the span is that specified in ACI Section 7.12 for shrinkage and temperature steel. When slabs are overloaded in certain areas there is a tendency for those loads to be distributed laterally to other parts of the slab, thus substantially reducing the chances of sudden failure. This explains why a reduction of the minimum reinforcing percentage is permitted in slabs of uniform thickness.

ACI-Code 2011- 10.5.4 — For structural slabs and footings of uniform thickness, As-min in the direction of the span shall be the same as that required by

7.12.2.1. Maximum spacing of this reinforcement shall not exceed three times the thickness, nor 450 mm.

7.12.2.1 — Area of shrinkage and temperature reinforcement shall provide at least the following ratios of reinforcement area to gross concrete area, but not less than 0.0014:

(a) Slabs where Grade 280 or 350 deformed bars are used ..........................0.0020

(b) Slabs where Grade 420 deformed bars or welded wire reinforcement are used .......0.0018

(c) Slabs where reinforcement with yield stress exceeding 420 MPa measured at a yield strainof0.35 percent is used..........................

7.12.2.2 — Shrinkage and temperature reinforcement shall be spaced not farther apart than five times the slab thickness, nor farther apart than 450 mm.

3.9 BALANCED STEEL PERCENTAGE

An expression is derived for , the percentage of steel required for a balanced design. At ultimate load for such a beam, the concrete will theoretically fail (at a strain of 0.003), and the steel will simultaneously yield (see Figure below).The neutral axis is located by the triangular strain relationships that follow, noting that Es= 200000MPa for the reinforcing bars:

Then

And from equating C and T:   and

Two expressions are now available for c, and they are equated to each other and

solved for the percentage of steel. This is the balanced percentage:

Sub. For c :

Then  which is the balanced value of steel percent allowed to be used in the sectionsfor under reinforced beams the ACI Code allow to be multiplied by 0.75 before 2002.  ACI code 2011 used:

The ACI Code use the maximum percent steel ratio as:

Ex. 2: Determine the ACI design moment capacity of the beam shown in Figure below,  iff’c= 27.5 MPa and fy =420MPa.

Sol. :Checking Steel Percentage

and

Ex.3: A 2.4m span cantilever beam has a rectangular section of b=200mm and d= 390mm with 3 bars of 22mm diameter, carries a uniform dead load including it’s own weight of 12kN/m and a uniform distributed live load of 10.5kN/m. Check the adequacy of the section, using f’c of 28MPa and fy of 280MPa?

,        ,

the beam is under reinforced  o.k.

Ex.4: Determine the allowable moment and the position of neutral axis of a rectangular section which has b = 200mm, d =300mm use f’c= 21MPa and fy= 280MPa, when:

- Reinforced with 3ø 20 mm

- Reinforced with 3ø 28mm

Solution:

,        ,

3

then beam is under reinforced  o.k.

,        ,

and      3

Then beam is over reinforced and fs are less than fy, then use

3.10: Design of Rectangular Beams and One-Way Slabs:

3.10.1: Load Factors

Load factors are numbers, almost always larger than 1.0, that are used to increase the estimated loads applied to structures. The loads are increased to attempt to account for the uncertainties involved in estimating their magnitudes. The load factors for dead loads are much smaller than the ones used for live and environmental loads. In this regard, you will notice that the magnitudes of loads that remain in place for long periods of time are much less variable than are those loads applied for brief periods, such as wind and snow. Section 9.2 of the ACI-Code presents the load factors and combinations that are to be used for reinforced concrete design. The required strength, U, or the load-carrying ability of a particular reinforced concrete member, must at least equal the largest value obtained by substituting into ACI Equations 9-1 to 9-7.

Where U = the design or ultimate load the structure needs to be able to resist

D = dead load, L = live load.

3.10.2 Design of Rectangular Beams

Before the design of an actual beam is attempted, several miscellaneous topics need to be discussed. These include the following:

- Beam proportions. The most economical beam sections are usually obtained for shorter beams (up to 6.0m or 7.6 m in length), when the ratio of d to b is in the range of 1.5 to 2. For longer spans, better economy is usually obtained if deep, narrow sections are used. The depths may be as large as 3*b or 4*b. However, today’s reinforced concrete designer is often confronted with the need to keep members rather shallow to reduce ﬂoor heights. As a result, wider and shallower beams are used more frequently than in the past.

- Deﬂections.  The ACI Code in its Table 9.5(a) provides minimum thicknesses of beams and one-way slabs for which such deﬂection calculations are not required. The minimum thicknesses provided apply only to members that are not supporting or attached to partitions or other construction likely to be damaged by large deﬂection.

- Estimated beam weight. The weight of the beam to be selected must be included in the calculation of the bending moment to be resisted, because the beam must support itself as well as the external loads. For instance, calculate the moment due to the external loads only, select a beam size, and calculate its weight. Another practical method for estimating beam sizes is to assume a minimum overall depth, h, equal to the minimum depth speciﬁed by [ACI-318-11, Table 9.5(a)] if deﬂections are not to be calculated. Then the beam width can be roughly estimated equal to about one-half of the assumed value of hand the weight of this estimated beam calculated = bh*24 times the concrete weight per cubic meter. After M is determined for all of the loads, including the estimated beam weight, the section is selected. If the dimensions of this section are signiﬁcant different from those initially assumed, it will be necessary to recalculate the weight and Mu and repeat the beam selection.

- Selection of bars. Select an appropriate reinforcement ratio between and . Often a ratio of about 0.60, will be an economical and practical choice. Selection of  ensures that ∅ will remain equal to 0.90. For   an iterative solution will be necessary.

After the required reinforcing area is calculated, select diameter of and numbers of bar that provide the necessary area. For the usual situations, bars of sizes  and smaller are practical. It is usually convenient to use bars of one size only in a beam, although occasionally two sizes will be used. Bars for compression steel and stirrups are usually a different size.

- Cover. The reinforcing for concrete members must be protected from the surrounding environment; that are, ﬁre and corrosion protection need to be provided. To do this, the reinforcing is located at certain minimum distances from the surface of the concrete so that a protective layer of concrete, called cover is provided. In addition, the cover improves the bond between the concrete and the steel. In Section 7.7 of the ACI Code, speciﬁed cover is given for reinforcing bars under different conditions. Values are given for reinforced concrete beams, columns, and slabs; for cast-in-place members; for precast members; for pre-stressed members; for members exposed to earth and weather.

7.7 - Concrete protection for reinforcement

7.7.1 - Cast-in-place concrete (non-prestress) ,cover for reinforcement shall not be less

than the following:

| No. | Position | Cover, mm |
| --- | --- | --- |
| a | Concrete cast against and permanently exposed to earth | 75 |
| b | Concrete exposed to earth or weather: bars with diameter 19mm through 57mm Bars with diameter 16 bar, MW200 or MD200 wire, and smaller | 50 40 |
| c | Concrete not exposed to weather or in contact with ground: Slabs, walls, joists: bars with dia. 43mm and 57mm bars with dia. 36 mm and smaller Beams, columns: Primary reinforcement, ties, stirrups, spirals Shells, folded plate members: bars with dia. 19 mm and larger Bars with dia. 16mm, MW200 or Pl D200 wire, and smaller | 40 20 40 20 13 |

- Minimum spacing of bars. The code (7.6) states that the clear distance between parallel bars cannot be less than 25mm or less than the nominal bar diameter. If the bars are placed in more than one layer, those in the upper layers are required to be placed directly over the ones in the lower layers, and the clear distance between the layers must be not less than 25mm.

7.6 — Spacing limits for reinforcement

7.6.1 — The minimum clear spacing between parallel bars in a layer shall be  but not less than 25 mm.

7.6.2 — Where parallel reinforcement is placed in two or more layers, bars in the upper layers shall be placed directly above bars in the bottom layer with clear distance between layers not less than 25 mm.

7.6.5 — In walls and slabs other than concrete joist construction, primary flexural reinforcement shall not be spaced farther apart than (3h) three times the wall or slab thickness, nor farther apart than 450 mm.

A major purpose of these requirements is to enable the concrete to pass between the bars. The ACI Code further relates the spacing of the bars to the maximum aggregate sizes for the same purpose. In the code Section 3.3.2, maximum permissible aggregate sizes are limited to the smallest of (a) 1/5 of the narrowest distance between side forms, (b) 1/3 of slab depths, and (c) 3/4 of the minimum clear spacing between bars.

Ex.5: Design the simply supported rectangular beam with span of 4m support service  dead load of 10kN/m and service  live load of 30kN/m f’c= 21MPa and fy = 400MPa.

Try section of b = 250mm and h = 500mm

Total dead load =10+3=13 kN/m

,        ,

Select an appropriate reinforcement ratio between  and   . Often a ratio of about 0.60, will be an economical and practical choice. Selection of  ensures that  will remain equal to 0.90. For   an iterative solution will be necessary.

Choose percent of steel in between of  and

Try   then:

Cross section will be        assuming

| b/d | d (mm) | b (mm) |
| --- | --- | --- |
| 0.484 | 412.57 | 200 |
| 0.677 | 369.02 | 250(govern) |
| 0.89 | 336.86 | 300 |

then

Use b= 250mm and d= 380 mm then h = 380 +70 = 450

Check weight of beam:

Then As can be find from one of the following methods:

First method :

then

and

Second method:

Try

And

Repeat

And

Third method:

Or

Assume using bars with 22mm diameter then number of bars required:

and

The cross section required

Checking sol.:

Then the section is ductile under reinforced beam.

and

Ex.6: Simply supported beam with 6m span, support a service dead load of 15 kN/m and point live load at mid span 50kN, Design the beam using f’c = 30 MPa and fy = 420 MPa ,find the depth if the width used b = 250mm and using 0.8 of  try using bars with 25mm diameter?

Assume b= 250mm

Then Wd= 0.25* 0. 4* 24 = 2.4  kN/m  try 3 kN/m

Total load load = 15 + 3 = 18 kN/m

then

For use   , assume

mm

try    d= 400mm

then

Wd= 24*0.25 *0.48 = 2.88 < 3 kN/m  o.k.

Or

As= 4 * 491= 1964 mm2

Check solution:

and

Check steel spacing :

Then two layers :

Ex.7: Find the minimum dimension of the cross section for the beam shown with b = 300mm, Use f’c = 25MPa and fy = 400 MPa, then find area of steel for the whole beam, bars with 25 mm?

,

To keep

for minimum dimension

Or

Cover  40 + 10 + 25 + 12.5 = 87.5 say 90mm

Then the depth will be corrected to h= 430 + 90 = 520mm

Check solution:

and

For negative moment = 202.5kN.m, use the same section b=300& h = 520mm

d= 430mm try

5

As =5*300*430 = 1464.15 mm2

using bars with 25mm:

and

Tension steel reinforcement