Water Resources and Water Uses:

Introduction: Uses of water include agricultural, industrial, household, recreational, and environmental activities. Virtually all of these human uses require fresh water.

97% of water on the Earth is salt water, leaving only 3% as fresh water of which slightly over two thirds is frozen in glaciers and polar ice caps. The remaining unfrozen freshwater is mainly found as groundwater, with only a small fraction present above ground or in the air.

| Engineering of Water Supply |
| --- |
| Water Sources Optioning (Selection) |  | Water Treatment Plant (WTP) |  | Water Distribution (Network and Services Storage) |
| Control of Water Quality |

Factors Affecting Consumption

- Size of city and population growth.

- Expansion of business activity.

- Rapid urbanization and increased affluence.

- Water quality.

- Cost of water.

- Water pressure.

- Climate.

- Whether supplies are metered.

- Efficiency of the water works administration.

Forecasting Population:

To design of a waterworks one must establish the length of time the improvement will serve the community before it is abandoned of enlarged. These periods are known as periods of design, and they have an important bearing upon the amount of funds that may be invested in construction of both waterworks and sewerage works.

Several methods are used to estimate the population some future year:

- Arithmetic method: rate of growth is constant

Where Pt is the population in the future, Po is the present population, and  t  is the period of the projection.

- Uniform percentage method: rate of growth is proportional to population:

may be estimated from recorded population using:

In which P and Po are recorded populations separated by a time interval .

- Curvilinear method: This method includes comparison of the projected growth to that of other cities of larger size. The cities chosen for the comparison should be as similar as possible to the city being studied.

Figure 2-1 Curvilinear method of predicting population. The dashed line is the forecast for city A. Scales A, B, C, D, and E apply to the corresponding cities.

The cities chosen for the comparison should be as similar as possible to the city being studied. Geographical proximity, likeness of economic base, access to similar transportation systems, and other such factors should be considered. As an example, in Figure (2-1), city A, the city being studied, is plotted up to 1970, the year in which its population was 51,000. City B reached 51,000 in 1930, and its curve is plotted from 1930 on; similarly curves are drawn for cities C, D, and E from the years in which they reached A's 1970 population. A's curve can then be continued, allowing it to be influenced by the rates of growth of the larger cities. So far as possible the larger cities chosen should reflect conditions as they are in the city being studied.

- Logistic method: It can be used in modeling population trends has an S shape.

In which Psat: is the saturation population

a,b: constants.

in which n is the time interval between successive censuses.

∆t (or  t) is the time beyond the base year corresponding to Po.

- Declining growth method: It is similar to the logistic method and assumes that its rate of growth is a function of its population deficit.

- Ratio method: It requires calculation of the ratio of the local to regional population in a series of census years, projection of the trend line using any of the techniques above, and application of the projected ratio to the estimated regional population in the year of interest.

Accuracy in population estimation is important since if the estimate is too low the engineering works will quickly be inadequate and redesign, reconstruction, and refinancing will be necessary. Overestimation of population, on the other hand, results in excess capacity which must be financed by a smaller population at a considerably higher unit cost.

The growth of a community with limited land area for future expansion might be modeled using the declining growth or logistic technique, while another, with large resources of land, power, water, and good transportation might be best predicted by the geometric method.

2-3: A community has an estimated population 20 year hence which is equal to 35000, the present population is 28000 and present average water consumption is 16×106 l/day. The existing treatment plant has a design capacity of 5 mgd. Assume an arithmetic rate of population growth, determine in what year the existing plant will reach its design capacity.

Solution:

■

OR ANOTHER SOLUTION

■

Variation in rate of consumption:

Goodrich formula:

Where p: the percentage of annual average consumption,   t: time in days.

Max. day is 180%

Max. week is 150%

Max. month is 130%

Note: larger cities will generally have smaller peaks

The maximum hourly consumption = 150% of the average for that day.

The minimum hourly consumption = 25 – 50 % of the daily average.

WATER REQUIREMENTS

The uses of water include domestic, commercial and industrial, public services such as fire fighting and public buildings, and unaccounted pipeline system losses and leakage. The average usage in the

United States for the above four categories are 220, 260, 30, and 90 liters per capita per day (L/(c _ d)),espectively (Tchobanoglous and Schroeder 1985). These correspond to 58, 69, 8, and 24 gal/(c _ d),

respectively. Total municipal water use averages 600 L/(c _ d) or 160 gal/(c _ d) in the United States.The maximum daily water use ranges from about 120 to 400 percent of the average daily use with a mean of about 180 percent. Maximum hourly use is about 150 to 12,000 percent of the annual average daily flow; and 250 to 270 percent are typically used in design.

1.1 Fire Demand

Fire demand of water is often the determining factor in the design of mains. Distribution is a shortterm,small quantity but with a large flow rate. The required flow rate for fire fighting must be available in addition to the coincident maximum daily flow rate. The duration during the required fire flow must be available for 4 to 10 h. National Board of Fire Underwriters recommends providing for a 10-h fire in towns exceeding 2500 in population. The Insurance Services Office Guide (International Fire Service Training Association, 1993) for determination of required fire flow recommends the formula

where F = required fire flow, gpm or m3/d

C =coefficient related to the type of construction

A = total floor area, ft2 or m2

EXAMPLE 1: A four-story building of heavy timber type building of 715 m2 (7700 ft2) of ground area. Calculate the water fire requirement.

EXAMPLE 2:A five-story building of ordinary construction of 7700 ft2 (715 m2) of ground area communicating with a three-story building of ordinary construction of 9500 ft2 (880 m2) ground area. Compute the required fire flow.

Solution:

Example: A community with a population 22,000 has an average consumption of 600 liter per capita/ day and a fire flow dictated by a building of ordinary construction with a floor area of 100 m2 and a height of 6 stories. Find the total water demand.

Solution:

2-5: Determine the fire flow for a 3-story wood frame building covering 700 m2 which connects with 5- story building of fire resistive construction covering 900 m2.

Solution:

Note: Fmin =500 gpm

Fmax = 6000 gpm for one story

= 8000 gpm for multi story

= 12000 gpm considering nearby building     ■

Coagulation

Power requirements. Power required for turbulent mixing is traditionally based on the velocity gradient or G values proposed by Camp and Stein (1943). The mean velocity gradient G for mechanical

mixing is

where G= mean velocity gradient; velocity (ft/s)/distance (ft) is equal to per second

P = power dissipated, ft lb/s or N m/s (W)

µ = absolute viscosity, lb s/ft2 or N s/m2

The equation is used to calculate the mechanical power required to facilitate rapid mixing. If a chemical

is injected through orifices with mixing times of approximately 1.0 s, the G value is in the range of 700 to 1000/s. In practice, G values of 3000 to 5000/s are preferable for rapid mixing (ASCE and

AWWA, 1990).

Eq. (6.53) can be expressed in terms of horsepower (hp) as

For SI units the velocity gradient per second is:

where kW = energy input, kW

V =effective volume, m3

µ = absolute viscosity, centipoise, cp

= 1 cp at 20C

The equation is the standard design guideline used to calculate the mechanical power required to

facilitate rapid mixing. Camp (1968) claimed that rapid mixing at G values of 500/s to 1000/s for 1 to

2 min produced essentially complete flocculation and no further benefit for prolonged rapid mixing.

For rapid mixing the product of Gt should be 30,000 to 60,000 with t (time) generally 60 to 120 s.

EXAMPLE 2: A rapid mixing tank is 1 m * 1 m * 1.2 m. The power input is 746 W (1 hp). Find

the G value at a temperature of 15C.

Solution:

At 10 C, µ = 0.00113 N . s/m2

FLOCCULATION

After rapid mixing, the water is passed through the flocculation basin. It is intended to mix the water

to permit agglomeration of turbidity settled particles (solid capture) into larger flocs which would

have a mean velocity gradient ranging 20 to 70 s_1 for a contact time of 20 to 30 min taking place in

the flocculation basin. A basin is usually designed in four compartments (ASCE and AWWA 1990).

The conduits between the rapid mixing tank and the flocculation basin should maintain G values

of 100 to 150 s_1 before entering the basin.

For baffled basin, the G value is

where G = mean velocity gradient, s_1

Q = flow rate, ft3/s

ᵞ =specific weight of water, 62.4 lb/ft3

µ= absolute viscosity, lb . s/ft2

V = volume of flocculator, ft3

t = detention time, s